TARRANT COUNTY

HOSPITAL DISTRICT d/b/a

JPS HEALTH NETWORK

REQUEST FOR PROPOSAL #20251346752
Elevator Modernization Services (Multiple Locations)

The Tarrant County Hospital District d/b/a JPS Health Network (the “District”) is seeking proposals for the provision of Elevator Modernization Services (Multiple Locations).

The District will reject any proposal that fails to comply in all respects with the instructions set forth herein for responding to this Solicitation.  NO EXCEPTIONS WILL BE MADE, even if you are a current or prior vendor for the District. The contract awarded, if any, under and pursuant to this Solicitation shall supersede any previous contract, bid, or GPO agreement for the products or services described herein.

Release Date: 10/22/2025

Response Deadline: 11/19/2025, 2:00 p.m. CST

- OVERVIEW

  - INTRODUCTION AND OVERVIEW

The District desires to award a contract or contracts based upon vendor proposals (“Solicitation Response(s)”) to this Solicitation (“Solicitation”). The District is soliciting vendor proposals from vendors capable of supplying the District with Elevator Modernization Services (Multiple Locations) (the Project), as set forth and specified herein (See Section II below, Business Requirements, attached hereto and incorporated herein for all purposes). All Solicitation Responses must be delivered to the District by the date and time, and in the manner specified in Section I.B hereof to be considered a Solicitation Response by the District.

A Solicitation Response does not commit the District to accept such Solicitation Response or to award a contract based on any Solicitation Response (“Contract Award”) merely because a Solicitation Response may propose the lowest price for the Project.  The District expressly reserves the right to base any Contract Award hereunder upon its evaluation of all relevant factors regarding the vendor, including, but not limited to, Project pricing and terms, management experience and expertise, industry reputation and profile, performance history, support services, location and accessibility, and any other information relevant to its evaluation. Qualifications and omissions will be considered when evaluating vendor solicitation responses. A Solicitation Response that does not meet the minimum requirements set forth in Section II below, Business Requirements, will be disqualified.

This Solicitation is not an order and does not commit the District to pay for any costs incurred by the prospective vendor in the preparation or submission of the Solicitation or in the procurement of the Project.  Project quantity estimates used herein may or may not reflect actual quantities needed or used by the District in the future, and do not commit the District to order specific Project quantities. Any Solicitation Response accompanied by terms and conditions that conflict with this Solicitation may be rejected by the District.

The District reserves the right to reject any or all Solicitation Responses and to issue a Contract Award or not to issue a Contract Award based solely on the Solicitation Responses received by the District in response to this Solicitation.  However, prior to making any award hereunder, the District also reserves the right to engage in additional discussions with one or more of the vendors responding to this Solicitation.

Any prospective Respondent may request an explanation or interpretation of any portion of this Solicitation by complying with the request procedure described in Section I.C.2 below. The responses, if any, of the District to such requests are subject to and will be in the form of amendment to the Solicitation and will comply with the provisions of Section I.C.2 below. The District may elect not to respond to any or all such requests received from prospective Respondents.

MINORITY, WOMAN, AND VETERAN OWNED BUSINESS ENTERPRISE PARTICIPATION

The District maintains a policy of encouraging and engaging in business transactions with vendors who qualify and are certified under applicable law as Minority, Woman, and Veteran Owned Business Enterprises (“MWVBEs”).  The District establishes a 25% good faith target goal.  The District also encourages its vendors to utilize subcontractors and vendors who qualify and are certified under applicable law as MWVBEs.  MWVBE Respondents are also strongly encouraged to subcontract to other MWVBEs to expand MWVBE participation beyond Respondent’s own self-performance.  MWVBE Respondents should identify and list MWVBE subcontractors and other relevant information under the appropriate Solicitation Response section(s) and on the Good Faith Form (Exhibit F). Prior to the Contract Award, a Respondent’s good faith efforts to utilize MWVBE subcontractors and vendors in its business transactions shall be part of the criteria under which the vendor proposals will be considered.  Each Respondent will be required to show in its Solicitation Response its efforts to utilize MWVBE subcontractors and vendors in its business transactions.

VENDOR PORTAL

Prior to the District’s consideration of a Respondent’s Solicitation Response each Respondent is required to register as a vendor in the District’s online vendor portal, B2Gnow, located on the District’s Website at: https://jpshealth.gob2g.com.

The District will monitor contract compliance via B2GNow. The prime vendor and any subcontractors awarded contracts as a result of this Solicitation are required to use the secure web-based system to submit project information including, but not limited to, monthly progress payment reports and other information related to MWVBE participation. The District may require additional information related to the contract to be provided electronically through the system at any time before, during, or after contract award. Noncompliance may result in exclusion of a vendor from future contract opportunities with the District.

COMPLIANCE WITH TEXAS GOVERNMENT CODE SECTION 2252.908

Texas Government Code Section 2252.908 (“Section 2252.908”) states that a governmental entity or state agency may not enter into certain contracts with a business entity unless the business entity submits Form 1295, a disclosure of interested parties, to the governmental entity or state agency at the time the business entity submits the signed contract to the governmental entity or state agency.  Section 2252.908 applies to all contracts entered into from and after January 1, 2016 between business entities and Texas governmental entities and state agencies which meet either one of the following criteria:

1. the contract requires a vote of the governing body of the Texas governmental entity, or

2. the contract has a contractual value of at least $1 Million.

The Texas Ethics Commission has adopted a Certificate of Interested Parties form (“Form 1295”) and has made it available on the TEC website.

In 2017 Section 2252.908 was amended to provide that the requirements of Section 2252.908 do not apply to the following contracts entered into or amended after January 1, 2018:

1. a contract with a publicly traded business entity, including a wholly owned subsidiary of the business entity;

2. a contract with an electric utility, as that term is defined by Section 31.002, Texas Utilities Code; or

3. a contract with a gas utility, as that term is defined by Section 121.001, Texas Utilities Code.

In the event a Contract Award is issued pursuant to this Solicitation, the Respondent receiving the Contract Award shall be required to comply with the provisions of Section 2252.908, Texas Government Code, and the Chapter 46 Rules of the TEC, prior to entry into a contract with the District.  The TEC has posted a video tutorial to its website for business entity filings of Form 1295. The TEC video provides step-by-step tutorials for creating login accounts for the business entity for completing and filing Form 1295. The TEC video tutorials can be viewed on its website at:

https://www.ethics.state.tx.us/whatsnew/elf_info_form1295.htm

The TEC’s FAQs are posted on its website at:

https://www.ethics.state.tx.us/resources/FAQs/FAQ_Form1295.php

COMPLIANCE WITH TEXAS GOVERNMENT CODE CH. 2271 (Boycott of Israel Prohibited)

In 2017 Texas Government Code Section 2271.001 et seq. was enacted to provide that a Texas governmental entity is prohibited from entering into a contract with a company unless the contract contains a written verification by the company that (i) the company does not boycott Israel, and (ii) the company will not boycott Israel during the term of the contract. The requirement was modified in 2019 to apply only to contracts with a value of $100,000 or more that are made with a company (not including sole proprietorships) with 10 or more full-time employees. The term “boycott Israel” is defined in Section 808.001(1) of the Texas Government Code and means refusing to deal with, terminating business activities with, or otherwise taking any action that is intended to penalize, inflict harm on, or limit commercial relationships specifically with Israel, or with a person or entity doing business in Israel or in an Israel-controlled territory, but does not include an action made for ordinary business purposes. Any awarded contract must comply with the verification requirements in Texas Government Code Section 2271.001, and a Respondent’s failure or refusal to comply will result in the withdrawal of the Contract Award. Respondents should ensure they and their affiliates do not appear on the Texas Comptroller’s List of Companies that Boycott Israel.

COMPLIANCE WITH TEXAS GOVERNMENT CODE SECTIONS 2252.151 et seq. (Scrutinized Business Operations in Sudan, Iran, or with Designated Foreign Terrorist Organizations Prohibited)

In 2017 Texas Government Code Chapter 2252 was amended by adding Sections 2252.151 et seq. to provide that a Texas governmental entity is prohibited from entering into a contract with a company that engages in certain scrutinized business operations in Sudan, Iran, or with foreign terrorist organizations. A Texas government entity may not enter into a contract with a “scrutinized company” as defined in Section 2270.0001(9) of the Texas Government Code. Respondents should ensure that they and their affiliates do not appear on the Texas Comptroller’s Scrutinized Companies Lists. The District is prohibited by law from entering into a contract with a company on such a list (including a company with any affiliate on the list).

COMPLIANCE WITH TEXAS GOVERNMENT CODE CH. 2274 (Discrimination Against Firearm Entities or Firearm Trade Associations Prohibited)

In 2021, Texas Government Code Chapter 2274 was enacted to provide that a Texas governmental entity is prohibited from entering into a contract with a company unless the contract contains a written verification by the company that (i) the company does not have a practice, policy, guidance, or directive that discriminates against a firearm entity or firearm trade association, and (ii) the company will not discriminate against a firearm entity or firearm trade association during the term of the contract.  The requirement applies only to contracts with a value of $100,000 or more that are made with a company (not including sole proprietorships) with 10 or more full-time employees.  The requirement does not apply to sole source contracts or competitive solicitations-related contracts where no respondent can provide the verification required.  (See Sec. 2274.002(c)). The term “discriminate against a firearm entity or firearm trade association” is defined in Texas Government Code Section 2274.001(3) and means, with respect to the entity or association, to: (i) refuse to engage in the trade of any goods or services with the entity or association based solely on its status as a firearm entity or firearm trade association; (ii) refrain from continuing an existing business relationship with the entity or association based solely on its status as a firearm entity or firearm trade association; or (iii) terminate an existing business relationship with the entity or association based solely on its status as a firearm entity or firearm trade association; the term does not include: (i) the established policies of a merchant, retail seller, or platform that restrict or prohibit the listing or selling of ammunition, firearms, or firearm accessories; and (ii) a company’s refusal to engage in the trade of any goods or services, decision to refrain from continuing an existing business relationship, or decision to terminate an existing business relationship: (aa) to comply with federal, state, or local law, policy, or regulations or a directive by a regulatory agency; or (bb) for any traditional business reason that is specific to the customer or potential customer and not based solely on an entity’s or association’s status as a firearm entity or firearm trade association. Any awarded contract must comply with the verification requirements in Texas Government Code Section 2274.002, and a Respondent’s failure or refusal to comply will result in the withdrawal of the Contract Award.

COMPLIANCE WITH TEXAS GOVERNMENT CODE CH. 2276 (Boycott of Certain Energy Companies Prohibited)

In 2021, Texas Government Code Chapter 2276 was enacted to provide that a Texas governmental entity is prohibited from entering into a contract with a company unless the contract contains a written verification by the company that (i) the company does not boycott energy companies, and (ii) the company will not boycott energy companies during the term of the contract.  The requirement applies only to contracts with a value of $100,000 or more that are made with a company (not including sole proprietorships) with 10 or more full-time employees.  The term “boycott energy company” is defined in Section 809.001(1) of the Texas Government Code and means, without an ordinary business purpose, refusing to deal with, terminating business activities with, or otherwise taking any action that is intended to penalize, inflict economic harm on, or limit commercial relations with a company because the company: (A) engages in the exploration, production, utilization, transportation, sale, or manufacturing of fossil fuel-based energy and does not commit or pledge to meet environmental standards beyond applicable federal and state law; or (B) does business with a company described by subsection (A). Any awarded contract must comply with the verification requirements in Texas Government Code Section 2276.002, and a Respondent’s failure or refusal to comply will result in the withdrawal of the Contract Award.

TEXAS PUBLIC INFORMATION ACT

Each Respondent acknowledges that the District is a governmental body operating under and subject to the provisions of the Texas Public Information Act (“TPIA”) (Chapter 552 of the Texas Government Code) and thereby acknowledges that certain information collected, assembled, or maintained in connection with the transaction of official business by a governmental body is considered public information potentially subject to disclosure pursuant to a valid TPIA request. Respondent is responsible for challenging any requests for information it considers confidential under the TPIA. The requirements of Subchapter J, Chapter 552 of the Texas Government Code apply to this bid, and the contractor or vendor agrees that that the contract can be terminated if the contractor or vendor knowingly or intentionally fails to comply with a requirement of that subchapter. Respondents should consult the Attorney General’s website (https://www.texasattorneygeneral.gov/open-government/office-attorney-general-and-public-information-act) for information concerning the application of the provisions of the TPIA to proposals and proprietary vendor information.

  - SOLICITATION RESPONSE REQUIREMENTS, CONDITIONS AND RELATED INFORMATION

    - Preparation of Solicitation Response.

#### Each Respondent should carefully examine and familiarize itself with this Solicitation and all exhibits, drawings, specifications, and instructions included in this Solicitation. Each Respondent, by submitting a Solicitation Proposal, represents that Respondent has read and understands this Solicitation and the drawings, exhibits attached to this Solicitation.

#### Each Solicitation Response shall be fully completed, shall contain all the information required from the Respondent by this Solicitation, including the Vendor Certification Form attached hereto as Exhibit D (“Required Information”), and shall be signed and executed, on the Signature Form attached hereto as Exhibit B by an officer or other authorized representative of the Respondent.  Each page of a Solicitation Response shall contain the company name of the Respondent.  A Respondent’s failure to provide any of the Required Information in its Solicitation Response, or the failure of the Solicitation Response to contain the signature of Respondent’s officer or other duly authorized representative, may result in the District’s disqualification of such Solicitation Response.  The Required Information shall include detailed information regarding the Respondent’s historical efforts (for the last year) to utilize DBE subcontractors and vendors in its prior business transactions and shall include such detailed information in its Solicitation Response.

#### Each Respondent shall be responsible for and shall bear all costs for the preparation and presentation of its Solicitation Response.  Unless otherwise designated by Respondent and agreed by the District, the Solicitation Response and all drawings, materials, supporting documentation, manuals, etc. submitted with any Solicitation Response (“Submitted Materials”) will, immediately upon submission, become the property of the District.  After the date upon which the final vendor is selected (See Section I.C.1 below) Respondents may request the return of the Submitted Materials.  However, all costs associated with returning the Submitted Materials to a Respondent shall be born and paid in advance by the Respondent.

#### The District does not guarantee the confidentiality of any Submitted Materials.  Each Respondent, by submitting a Solicitation Response, acknowledges and agrees that any Submitted Materials will be distributed or made available to appropriate District personnel and consultants involved in this Solicitation process, and further understand that the Submitted Materials may be subject to disclosure pursuant to the TPIA.  Information considered proprietary by a Respondent should be clearly marked “Proprietary” when submitted with a Solicitation Response.

#### The District reserves the right to modify and/or supplement this Solicitation by amendment issued by the District prior to the date and time of the Response Deadline (defined herein). Any such amendments will be posted on-line prior to the Response Deadline at the same District internet site where this Solicitation is kept available for solicitation of Solicitation Responses. It is the responsibility of each Respondent to check that internet site frequently to determine if any amendments have been issued.

#### The District reserves the right to withdraw this Solicitation, at its sole discretion, from any or all prospective vendors and Respondents at any time, before or after the Response Deadline. The withdrawal, if ever, of this Solicitation shall be effective upon the District’s issuance of written notice posted on-line at the same District internet site where this Solicitation is kept available for solicitation of Solicitation Responses, which notice may also be sent by the District to the prospective Respondents in any manner deemed reasonable by the District.

    - Form of Contract.

### Any Respondent awarded a contract with the District for the purchase and sale of the products and/or services pursuant to this Solicitation shall be required to execute an agreement between the Respondent and the District which shall in all material respects contain the terms and conditions set forth in Exhibit C (Contract Terms), which is attached hereto and incorporated herein for all purposes.  The District will not agree to change the Contract Terms except under unusual circumstances approved in the sole discretion of the District and its legal counsel. The District will entertain changes to the Contract Terms to the limited extent required to conform the unique terms of the Solicitation Response to the Contract Terms (e.g., unique payment provisions, terms and conditions). The District reserves the right to approve or reject any proposed changes to the Contract Terms submitted by Respondents.

Respondents may not request additional changes to the Contract Terms after the Solicitation Response has been submitted to the District, nor will the District agree to negotiate any requested changes to the Contract Terms which are not included with the Solicitation Response in the manner and form set forth above in this section I.B.2 and in Exhibit C.

    - Submission of Solicitation Responses.

#### All Solicitation Responses shall be submitted to the District as follows:

        - All Solicitation submissions must be sent electronically to Bid_submissions@jpshealth.org. Please ensure this RFP # is in the subject of the email with your proposal submission. The proposal must include an electronic, editable, unlocked/unsecured copy of your proposed contract (e.g., PDF or TIFF is not acceptable). If you submit a redline of the Contract Terms in response to Exhibit C, you must provide an editable, unlocked/unsecured version of the redline with your Solicitation Response (preferably in track changes). The rest of your response must be submitted in a format that preserves the original graphic appearance, such as portable document format (PDF) or other digital image format that is platform-independent and easily readable without purchased software.

        - An attempted award will be deemed invalid if the Respondent, upon award of a contract (if ever), is not registered with JPS Vendor Portal (https://jpshealth.gob2g.com/) or is not in compliance with the District’s requirements for vendor credentialing.

        - Respondents must submit the Solicitation Response as follows: the body of the email containing the Solicitation Response must state the following: (i) the name and address of the Respondent, (ii) the Response Deadline, and (iii) the Solicitation number. Please put the Solicitation number and description in your email subject line.

        - Unless otherwise expressly provided in this Solicitation or in any amendment to this Solicitation, no Respondent shall modify or cancel the Solicitation Response or any part thereof for thirty (30) days after the Response Deadline. Respondents may withdraw Solicitation Proposals at any time before the Solicitation Proposals are opened by the District, but may not resubmit them.  No Solicitation Proposal may be withdrawn or modified after the Solicitation Proposal deadline.

        - Solicitation Proposals will not be considered if they show any omissions, alterations of required forms, additions or conditions not requested or irregularities of any kind.  However, the District reserves the right to waive any irregularities and to make the award in the best interest of the District.

        - The Respondent acknowledges the right of the District to reject any or all Solicitation Responses and to waive any informality or irregularity in any Solicitation Response received.  In addition, the District reserves the right to reject any Solicitation Response if the Respondent failed to submit the data, information or documents required by this Solicitation, or if the Solicitation Proposal is any way incomplete or irregular.

        - Failure to follow the instructions regarding the submission of Solicitation Responses may result in the District’s disqualification of such Solicitation Responses.

#### Solicitation Responses are due on or before 11/19/2025, 2:00 p.m. CST (“Response Deadline”).  The Response Deadline may be extended by the District upon amendment to this Solicitation issued prior to the then-existing Response Deadline. Solicitation Responses are not scheduled for public opening.  No telephone, telephonic, or FAX Solicitation Responses will be accepted.  The District will not be responsible for missing, lost, or late deliveries.  Solicitation Proposals delivered after the Response Deadline will not be accepted or considered under any circumstances.

#### Each Solicitation Response shall contain the completed form entitled, “Vendor Certification Form” set forth on Exhibit D which is attached hereto and incorporated herein for all purposes.

#### Each Solicitation Response shall contain the completed form entitled “Conflict of Interest Questionnaire” set forth on Exhibit E which is attached hereto and incorporated herein for all purposes, and shall return the Conflict of Interest Questionnaire with its Solicitation Response.

  - SOLICITATION SCHEDULE AND RELATED INFORMATION

    - Estimated Schedule

| Milestone | Date |
| --- | --- |
| Solicitation Issued | 10/22/2025 |
| Deadline for Questions Submitted by Respondents | 11/05/2025, 2:00 p.m. CST |
| Pre-Proposal Conference | See attached schedule |
| Response Deadline | 11/19/2025, 2:00 p.m. CST |
| Solicitation Evaluation Period | TBD |

      - Pre-Proposal Conference.  A mandatory pre-proposal conference will be held to allow respondents time to walk through the locations. Please see attached schedule.

#### Milestone Dates.  Milestone Dates are estimated for planning purposes only and are subject to change.

    - District Solicitation Contact

Respondents may, in the manner prescribed herein, present requests (“Submission Questions”) for an explanation, clarification or interpretation of the Business Requirements in this Solicitation and/or other requirements for submission of Solicitation Responses to the Solicitation Contact identified below during the proposal submission period.  All Submission Questions must be submitted in writing and emailed to the Solicitation Contact, at the email address set forth below, and must reference the appropriate pages and sections number of this Solicitation that are the subject of such Submission Questions. The final date and time to submit Submission Questions is 11/05/2025, 2:00 p.m. Central Time.  NO PHONE CALLS PLEASE.  Confirmation of the delivery of Submission Questions to the District is the sole responsibility of the Respondent. The District may, in its sole discretion, elect not to answer or respond to any or all Submission Questions it receives, and the failure of refusal of the District to answer or respond to any Submission Question will not affect, in any way, this Solicitation.  Submission Questions may be informally addressed during the Pre-Proposal Conference; provided, however, that no answer or response to any Submission Question by any representative of the District shall be effective unless and until it is issued by the District in writing in the form of one or more addenda to the Solicitation, and has been posted to the District’s Solicitation website link prior to the Response Deadline.  It is the responsibility of each Respondent to check the website for all addenda to the Solicitation up to the Response Deadline.  Prospective vendors are advised that no District employee other than the Solicitation Contact is empowered to make binding statements regarding this Solicitation, and no statements, clarifications, or corrections regarding this Solicitation are valid or binding on the District except those issued in writing by the Solicitation Contact as addenda to the Solicitation.

Contact between Respondents and the District, other than in the manner described and set forth in this Section I.C.2, during the Solicitation Response submission period or evaluation period is prohibited.  Any attempt by a Respondent to engage in prohibited contact with the District or the Solicitation Contact may result in disqualification of its Solicitation Response.

The Solicitation Contact is:

Kerron Haywood, Sourcing & Contract Specialist

Contract Management Department

JPS Health Network

JPS Professional Office Complex

1350 S. Main St., 2nd floor

Fort Worth, TX 76104

Email: Bid_Submissions@jpshealth.org

District’s Solicitation website link: https://www.jpshealthnet.org/vendors/open-rfpsrfbsrfqs

- BUSINESS REQUIREMENTS

  - INTRODUCTION

The District is requesting proposals from qualified vendors to provide elevator modernization on several elevators within the hospital district.

  - BACKGROUND

The Tarrant County Hospital District, known as JPS Health Network (“District”), is a tax-supported organization serving the healthcare needs of families across Tarrant County. JPS provides adult inpatient care at John Peter Smith Hospital, a facility licensed for 582 beds and located in Fort Worth, Texas. JPS has served as a Level I Trauma Center for Tarrant County for over a decade and is currently the largest training institution in Fort Worth.

The health network offers comprehensive services including primary care, specialty care, and pharmacy at more than 25 community locations. JPS is dedicated to providing a full continuum of behavioral health services, including inpatient services at Trinity Springs Pavilion, emergency behavioral health services at our Psychiatric Emergency Center, outpatient services at our JPS clinics, and mental health services for children and adolescents through programs like TCHATT.

JPS is governed by an eleven (11) member Board of Managers, whose members are appointed by the Tarrant County Commissioners Court.

  - PROJECT SCOPE

This project involves upgrading the hospital’s existing elevator systems to improve safety, reliability, and performance. The scope includes replacing outdated mechanical and electrical components with modern, energy-efficient technology, updating control systems for improved operation and accessibility compliance, and refurbishing elevator interiors for enhanced patient and visitor experience. The modernization will reduce downtime, meet current code requirements, and extend the service life of the hospital’s vertical transportation systems.

  - MINIMUM REQUIREMENTS

Traction Elevator Modernization

1. General Design Requirements

A. The latest editions of the publications listed constitute the minimum

requirements for elevator transportation systems, including design, methods

of construction, manner of installation, and testing.

American Society of Mechanical Engineers (ASME) Safety Codes for Elevators

- A17.1, A17.3, A17.4, A17.5, A17.6, A18.1

National Fire Protection Association (NFPA)

International Building Code (IBC)

Guide for Inspection of Elevators - A17.2

Standards for the Qualification of Elevator Inspectors - ASME QEI-1

Vertical Transportation Handbook, 4th Edition

B. Equipment shall be universally maintainable.

C. Diagnostics shall be built in.

D. A proprietary tool shall not be required for adjustment or maintenance.

E. Parts shall be available for inventory… not just exchange.

F. Technical training shall be available to all.

G. Engineering and technical support are available to all.

H. All manuals and drawings shall be provided.

I. The controller manufacturer shall provide direct support to the "end user" and

their designated maintenance company

J. Include any special tools, passwords, fault codes, fault code solutions,

software package or manuals that are required for maintenance, trouble

shooting, adjustments or performing safety tests of the installed elevators

for the Owner’s use. Owner shall not incur additional costs for service

tool or devices.

K. Demonstrate the ability to use non-proprietary means to adjust, trouble

shoot and perform Code required Safety tests

2. Elevator Enclosure

A. Existing enclosure canopy height inside the cab 8ft.B. Existing canopy to be painted white.

C. Provide new clads: Front return panel(s), entrance columns, entrance

transom shall be 14-gauge stainless steel full height of car.

D. Front return, car doors and car operating panel shall be satin stainless-steel

finish.

E. Elevator Cab Interiors shall be furnished and installed as per JPS basis of

design specifications. See Exhibit “A” for Passenger and Service applications.

F. Provide a two-speed heavy duty exhaust fan, Morrison AA or equal.

G. All stainless steel shall match in color, texture and direction of grain.

H. New car doors shall be reinforced with two panels steel construction covered

with stainless steel on the inside surface wrapped around the leading edge.

3. Doors and Entrances (Industry standard performance)

A. Provide new GAL door operator, linkage, door clutch, gate switch, door

tracks, door sills, gibs, rollers, safety edge, closures, interlocks, interlock

drive rollers, door labeling, interlock wiring.

B. Provide new hoistway door closures, interlocks, hangers, closers, wiring, door

tracks and rollers.

1. New or clad doors shall be provided. Doors shall be reinforced two panel

construction with stainless steel on the outside surface, wrapped around

leading edges. Provide new sight guards, escutcheon tubes, Clean and

polish hoistway door sills at each landing.

2. Clad entrance head and side jambs at every floor.

3. Provide new hoistway access operation.

4. Operating Fixtures

A. Provide Innovation Industries as fixture manufacturer for all fixtures; Bruiser

Halo Series PB-72 Blue. No exceptions.

B. Main Car Operating Panel shall be a one-piece front faceplate with edges

beveled minimum of 15 degrees, swing return, or tilt panel shall have the

firefighter’s service panel recessed into the upper section and the service

operation panel recessed into the lower section. Doors shall have concealed

hinges, be in the same front plane as the faceplate and fitted with cylinder type

key operated locks. Secure the faceplate with stainless steel tamperproof

screws.

C. Clad Front returns and strike jambs with stainless steel #4 brush finish.

D. Auxiliary Car Operating Panel in healthcare facilities shall be in the front

return panel opposite the main car operating panel. The auxiliary car

operating panel shall contain only those controls essential to passenger

(public) operation. The auxiliary car operating panel faceplate shall match

the main car operating panel faceplate in material and general design.

Secure the faceplate with stainless steel tamperproof screws.

E. Communication:

1. Each elevator shall be equipped with a Hands-Free Telephone located in

the car operating panel that is compatible with the facilities telephone

system.

2. Provide digitized audio voice system. Audio voice shall announce floor

designations, direction of travel, and other announcements as required.

The voice announcement system shall comply with ADA requirements for

audible car position indicators. The voice announcer shall have two

separate volume controls, one for the floor designations and direction of

travel, and another for special announcements. The voice announcer

shall have a full range loudspeaker, located on top of the cab. The audio

voice unit shall contain the number of ports necessary to accommodate

the number of floors, direction messages, and special announcements.

Install voice announcer per manufacturer’s recommendations and

instructions. The voice system shall be the product of a manufacturer of

established reputation. Provide manufacturer literature and list of voice

messages.

F. Corridor Operating Devices shall be surface mounted:

1. Corridor push button faceplates shall be sized to accommodate corridor

pictograph on faceplate. The centerline of the landing push buttons shall

be 42 in. above the corridor floor. Elevator Corridor Call Station

Pictograph shall be engraved in the faceplate.

2. Provide fire service recall key switch, indicator light, and fire recall

instruction, communication failure light, audible enunciator, and reset key

switch in a fixture at the designated main floor.

3. Provide Innovation Industries as fixture manufacturer for all fixtures;

Bruiser Halo Series PB-72 Blue surface mount for hall fixtures.

G. Digital Combination Corridor Arrival Lantern/Position Indicator:

1. Provide alpha-numeric digital position indicators between arrival

lanterns at all floors in healthcare buildings. Numerals shall be not less

than 2.5 in. high with direction arrows. Cover plates shall be removable

for re-lamping. The appropriate direction arrow shall be illuminated

during entire travel of car in corresponding direction.

2. Provide alpha-numeric digital position indicators between arrival lanterns

only at the main and alternate fire recall floors in non-healthcare buildings.

3. Provide each terminal landing with "UP" or "DOWN", minimum 2.5 in. high

digital arrow lanterns and each intermediate landing with "UP" and

"DOWN" digital arrow lanterns. Each lens shall be LED illuminated of

proper intensity, so shielded to illuminate individual lens only.

4. The lenses in each lantern shall be illuminated green to indicate "UP"

travel and red to indicate "DOWN" travel. Lanterns shall signal in advance

of car arrival at the landing indicating the direction of travel.

5. Corridor lanterns shall not be illuminated when a car passes a floor

without stopping. Each lantern shall be equipped with an audible

electronic chime which shall sound once for "UPWARD" bound car and

twice for "DOWNWARD" bound car. Audible signal shall not sound when

a car passes the floor without stopping. Provide adjustable sound level on

audible signal. Car riding lanterns are not acceptable.

5. Control Systems and Components

A. Provide a non-proprietary microprocessor system with absolute

position/speed feedback to control dispatching, signal functions, door

operation, and hoist motor control. Complete details of the components and

printed circuit boards, together with a complete operational description, shall

be submitted for approval.

B. Controller manufacturer shall provide factory training, engineering and

technical support, including all manuals, wiring diagrams, and tools

necessary for adjusting, maintaining, repairing, and testing of equipment for

use by the Owner’s designated Elevator Maintenance Service Provider. The

materials provided become the property of the Owner.

C. Microprocessor dispatching system shall evaluate building traffic demand

including number of elevators in service, hall calls, car calls, elevator position,

direction of travel, load in elevator, door status, and select an elevator to

answer hall calls for least passenger wait times possible.

D. Provide new drive, landing system, geared traction machine, deflector

sheaves, hoist ropes, governor and governor ropes and tail sheave and

guards.

E. Provide new leveling systems and limit switches.

F. Provide new spring type car and counterweight roller guides at top and

bottom of each.

G. Provide new car and counterweight buffers, new guards, Braille plates, hoist

ropes complete with wedge type shackles. Buffer channels to cleaned,

primed and painted. Provide new toe guard aprons as required.

H. Provide new load weighing device.

I. Safeties to be refurbished, realigned and reused.

J. Retain Counterweights, test to ensure proper counterbalance.

K. Guide Rails check for tightness and alignment.

L. New car top railing shall be installed.

M. New wiring and duct as required.

N. Provide new car top inspection station.

6. Elevator Machine Room

A. Elevator machine rooms are existing and all new equipment shall be sized

to accommodate the existing elevator machine room.

B. Provide new 3 Phase Disconnect and new feed to controller.

C. Code compliant LED lighting for machine room, pit and overhead.

D. Patching of holes and penetrations in machine rooms and hoistways to be

utilized and labeled with STI fire caulking. Ensure that any existing fire

retardant and protective barriers are not compromised.

E. Paint machine room floors as directed by Facilities Engineering Leadership.

7. Elevator Pit

A. Provide two stop switches in the pit, 48 in. above the bottom landing at the

top of the pit ladder and 48 in. above the pit floor adjacent to the pit ladder.

B. Pits and equipment shall be cleaned and painted as per approved JPS paint

requirements.

8. Electrical Requirements

A. Each elevator shall be provided with a separate disconnect and surge

suppressor in the respective machine room located adjacent to the entry.

The supply shall terminate at the respective elevator controller. The elevator

power supply shall be a dedicated main feeder utilizing the shortest practical

run and continuous ground conductor.

B. Emergency power supply shall have the capacity to operate a minimum of

one elevator per group.

1. If emergency generator is not available, traction elevators shall be

provided with an emergency power system that will run the elevator to

the nearest floor and open the doors.

C. Fire Alarm Initiating Devices shall be installed in elevator lobbies, top of

hoistways, and elevator machine rooms as required.

D. Provide provisions in the traveling cable for card readers and video/camera.

E. Contractor shall provide a complete fire alarm detection system to support

elevator firefighter’s emergency operations, in full compliance with NFPA

72, ASME A17.1, IBC, and local AHJ requirements.

The scope of work shall include:

a) Installation of all fire alarm devices required for elevator firefighter recall,

including smoke detectors, heat detectors, and associated modules,

located per applicable codes and standards.

b) Installation and/or verification of sprinkler protection where required by

code, with appropriate supervisory and waterflow devices tied into the

fire alarm system.

c) Removal of all elevator shunt trip equipment and related wiring in

accordance with City of Fort Worth requirements.

d) Verification that all programming and wiring to each elevator controller

supports firefighter’s emergency recall operation (Phase I and Phase II)

without shunt trip functionality.

e) Coordination and scheduling of all work through the JPS-approved

vendor for inspection, testing, and final acceptance.

f) All work must be performed by contractors holding appropriate state

licenses and shall include final documentation, testing, and certification

of compliance with NFPA and AHJ requirements.

F. Provide a circuit breaker panel or disconnect switches lockable in the off

position in each machine room for emergency power circuit for car lights, fan

and alarm, circuit for the machine room GFCI receptacles, circuit for the

hoistway lights, circuit for hoistway GFCI receptacles, and circuit for the

scavenger pump in the pit for hydraulic elevator.

G. Hoistway lights if provided shall be stacked vertically in the rear of the

hoistway near the corner for a single elevator or on the back wall between

the divider beams of a duplex or triplex installation. The extreme top and

bottom fixtures shall be mounted to illuminate the pit area when the car is at

the bottom landing and the car top when the car is at the top landing.

Provide three way light switches at the top of the pit ladder and five feet

above the top terminal landing at the inside front wall near the hall button

box.

H. Smoke Alarm, Shunt, Heat Sensors, Modules, Sprinklers: A smoke and heat

detecting system must be provided which meets appropriate code distances and is

wired from the device to each elevator controller. All shunt and sprinkler removal

to be included in the bid. Work to be scheduled with JPS approved vendor.

9. Additional Work and/or Requirements:

A. All permits must be included and displayed.

B. Warranty period for 12 months.

C. All work to be “turn-key” and inclusive with no additional cost to JPS.

D. Trash to be removed daily, with no lingering piles of debris. All equipment,

tools of the elevator trade to be stored out of sight and secured daily at the

end of each shift.

E. JPS Code of Conduct and business ethics to be observed at all times.

Work by Others – NOT Included in This Agreement

1. Incoming Building Power: 3-phase 4 wire system with ground

2. Asbestos: If asbestos is found in the building which is not contained, it shall be the

responsibility of others to abate. It will be necessary to stop work until this process is

completed. This provision may lead to re-mobilization fees.

3. Storage: A secure storage area will need to be provided by subcontractor. JPS to

work to provide close temporary accommodations for daily tools and work carts and

job boxes. Subcontractor to have their own local storage capabilities.

4. Elevator Operation: Should the elevator need to be operated for other trades, upon

owner approval, the hours will be calculated and presented to the owner as a

change order.

5. Emergency Power: Any modifications to existing emergency power system to

include generator and ATS switch

6. Sprinklers: Modifications, draining, capping, removal.

Hydraulic Elevator Modernization

1.General Design Requirements

A. The latest editions of the publications listed constitute the minimum

requirements for elevator transportation systems, including design, methods of

construction, manner of installation, and testing.

American Society of Mechanical Engineers (ASME) Safety Codes for Elevators -

A17.1, A17.3, A17.4, A17.5, A17.6, A18.1

National Fire Protection Association (NFPA)

International Building Code (IBC)

Guide for Inspection of Elevators - A17.2

Standards for the Qualification of Elevator Inspectors - ASME QEI-1

Vertical Transportation Handbook, 4th Edition.

B. Equipment shall be universally maintainable.

C. Diagnostics shall be built in.

D. A proprietary tool shall not be required for adjustment or maintenance.

E. Parts shall be available for inventory… not just exchange.

F. Technical training shall be available to all.

G. Engineering and technical support are available to all.

H. All manuals and drawings shall be provided.

I. The controller manufacturer shall provide direct support to the "end user" and

their designated maintenance company.

J. Include any special tools, passwords, fault codes, fault code solutions,

software package or manuals that are required for maintenance, trouble

shooting, adjustments or performing safety tests of the installed elevators for

the Owner’s use. Owner shall not incur additional costs for service tool or

devices.

K. Demonstrate the ability to use non-proprietary means to adjust, trouble

shoot and perform Code required Safety tests.

2. Elevator Enclosure

A. Existing enclosure canopy height inside the cab 8’ -0” tall.

B. Existing canopy to be painted white

C. New clads: Front return panel(s), car entrance columns, car entrance

transom shall be 14-gauge stainless steel satin finish full height of car.

D. Front return, car doors and car operating panel shall be stainless steel satin

finish.

E. Provide a two-speed heavy duty exhaust fan, Morrison AA or equal.

F. All stainless steel shall match in color, texture and direction of grain.

G. New car doors shall be furnished and installed, reinforced two panels steel

construction covered with stainless steel on the inside surface wrapped

around the leading edge.

3. Doors and Entrances (Industry standard performance)

A. Provide new GAL door operator, linkage, door clutch, gate switch, door

tracks, door sills, gibs, rollers, safety edge, closures, interlocks, interlock

drive rollers, door labeling, interlock wiring.

B. Provide new hoistway door closures, interlocks, hangers, closers, wiring, door

tracks and rollers.

1. New or clad doors shall be provided. Doors shall be reinforced two panel

construction with stainless steel on the outside surface, wrapped around

leading edges. Provide new sight guards, escutcheon tubes, Clean and

polish hoistway door sills at each landing.

2. Clad entrance head and side jambs at every floor.

3. Provide new hoistway access operation.

4. Operating Fixtures

A. Provide Innovation Industries as fixture manufacturer for all fixtures; Bruiser

Halo Series PB-72 Blue.

B. Main Car Operating Panel shall be a one piece front faceplate with edges

beveled minimum of 15 degrees, swing return, or tilt panel shall have the

firefighter’s service panel recessed into the upper section and the service

operation panel recessed into the lower section. Doors shall have concealed

hinges, be in the same front plane as the faceplate and fitted with cylinder

type key operated locks. Secure the faceplate with stainless steel

tamperproof screws.

C. Clad Front returns and strike jambs with stainless steel #4 brush finish.

D. Auxiliary Car Operating Panel in healthcare facilities shall be in the front

return panel opposite the main car operating panel. The auxiliary car

operating panel shall contain only those controls essential to passenger

(public) operation. The auxiliary car operating panel faceplate shall match the

main car operating panel faceplate in material and general design. Secure the

faceplate with stainless steel tamperproof screws.

E. Communication:

1. Each elevator shall be equipped with a Hands-Free Telephone located in

the car operating panel that is compatible with the facilities telephone

system.

2. Provide digitized audio voice system. Audio voice shall announce floor

designations, direction of travel, and other announcements as required.

The voice announcement system shall comply with ADA requirements

for audible car position indicators. The voice announcer shall have two

separate volume controls, one for the floor designations and direction of

travel, and another for special announcements. The voice announcer

shall have a full range loud speaker, located on top of the cab. The

audio voice unit shall contain the number of ports necessary to

accommodate the number of floors, direction messages, and special

announcements. Install voice announcer per manufacturer’s

recommendations and instructions. The voice system shall be the

product of a manufacturer of established reputation. Provide

manufacturer literature and list of voice messages.

F. Corridor Operating Devices shall be surface mounted:

1. Corridor push button faceplates shall be sized to accommodate corridor

pictograph on faceplate. The centerline of the landing push buttons shall

be 42 in. above the corridor floor. Elevator Corridor Call Station Pictograph

shall be engraved in the faceplate.

2. The direction of each button shall be legibly and indelibly identified by

arrows not less than .50 in. high in the face of each button. Provide a

corresponding Braille plate on the left side of each button.

3. Provide fire service recall key switch, indicator light, and fire recall

instruction, communication failure light, audible enunciator, and reset key

switch in a fixture at the designated main floor.

4. Provide Innovation Industries as fixture manufacturer for all fixtures;

Bruiser Halo Series PB-72 Blue surface mount for hall fixtures.

G. Digital Combination Corridor Arrival Lantern/Position Indicator:

1. Provide alpha-numeric digital position indicators between arrival lanterns

at all floors in healthcare buildings. Numerals shall be not less than 2.5 in.

high with directional arrows. Cover plates shall be removable for re-lamping.

The appropriate direction arrow shall be illuminated during entire travel of

car in corresponding direction.

2. Provide each terminal landing with "UP" or "DOWN", minimum 2.5 in. high

digital arrow lanterns and each intermediate landing with "UP" and

"DOWN" digital arrow lanterns. Each lens shall be LED illuminated of

proper intensity, so shielded to illuminate individual lens only.

3. The lenses in each lantern shall be illuminated green to indicate "UP"

travel and red to indicate "DOWN" travel. Lanterns shall signal in advance

of car arrival at the landing indicating the direction of travel.

4. Corridor lanterns shall not be illuminated when a car passes a floor

without stopping. Each lantern shall be equipped with an audible

electronic chime which shall sound once for "UPWARD" bound car and

twice for "DOWNWARD" bound car. Audible signal shall not sound when a

car passes the floor without stopping. Provide adjustable sound level on

audible signal. Car riding lanterns are not acceptable.

5. Control Systems and Components

A. Provide a non-proprietary microprocessor system with absolute

position/speed feedback to control dispatching, signal functions, door

operation, and hoist motor control. Complete details of the components and

printed circuit boards, together with a complete operational description, shall

be submitted for approval.

B. Controller manufacturer shall provide factory training, engineering and

technical support, including all manuals, wiring diagrams, and tools

necessary for adjusting, maintaining, repairing, and testing of equipment for

use by the Owner’s designated Elevator Maintenance Service Provider. The

materials provided become the property of the Owner.

C. Microprocessor dispatching system shall evaluate building traffic demand

including number of elevators in service, hall calls, car calls, elevator position,

direction of travel, load in elevator, door status, and select an elevator to

answer hall calls for least possible passenger wait times.

D. Provide new leveling systems and limit switches.

E. Provide new spring type car roller guides at top and bottom of each.

F. Provide new car buffers (when required). Buffer channels to cleaned, primed

and painted. Provide new toe guard aprons as required. Must be JPS approved paint and color.

G. Guide Rails check for tightness and alignment.

H. New car top railing shall be installed.

I. New wiring and duct as required.

J. Provide new car top inspection station.

6. Elevator Machine Room

A. Elevator machine rooms are existing and all new equipment shall be sized

to accommodate the existing elevator machine room.

B. Provide new 3 Phase Disconnect and new feed to controller.

C. Code compliant LED lighting for machine room, pit and overhead.

D. Pump Units: Positive-displacement type with a maximum of 10 percent

variation between no load and full load and with minimum pulsations. No sight

glass.

E. Pump shall be submersible type with submersible squirrel-cage induction

motor, and shall be suspended inside oil tank from vibration isolation mounts.

F. Hydraulic Silencers: System shall have hydraulic silencer containing pulsation absorbing

material in blowout-proof housing at pump unit.

G. Hydraulic Fluid: Elevator manufacturer's standard fire-resistant fluid with

additives as needed to prevent oxidation of fluid, corrosion of cylinder and

other components, and other adverse effects.

H. Power Unit Type: Electro-mechanical valve.

I. Valve Type: Open loop operation.

J. Patching of holes and penetrations in machine rooms and hoistways to be

utilized and labeled with STI fire caulking.

K. Painting of machine room floors and oil line included, as per JPS approved

paint requirements.

7. Elevator Pit

A. Provide two stop switches in the pit, 48 in. above the bottom landing at the top

of the pit ladder and 48 in. above the pit floor adjacent to the pit ladder.

B. Pit floor and equipment shall be cleaned and painted as per approved JPS

paint requirements.

8. Electrical Requirements

A. Each elevator shall be provided with a separate disconnect and surge

suppressor in the respective machine room located adjacent to the entry.

The supply shall terminate at the respective elevator controller. The elevator

power supply shall be a dedicated main feeder utilizing the shortest practical

run and continuous ground conductor.

B. Emergency power supply shall have the capacity to operate a minimum of

one elevator per group.

1. If emergency generator is not available, traction elevators shall be

provided with an emergency power system that will run the elevator to

the nearest floor and open the doors.

C. Fire Alarm Initiating Devices shall be installed in elevator lobbies, top of

hoistways, and elevator machine rooms as required.

D. Provide provisions in the traveling cable for card readers and video/camera.

E. Contractor shall provide a complete fire alarm detection system to support

elevator firefighter’s emergency operations, in full compliance with NFPA 72,

ASME A17.1, IBC, and local AHJ requirements.

The scope of work shall include:

a) Installation of all fire alarm devices required for elevator firefighter recall,

including smoke detectors, heat detectors, and associated modules, located

per applicable codes and standards.

b) Installation and/or verification of sprinkler protection where required by

code, with appropriate supervisory and waterflow devices tied into the fire

alarm system.

c) Removal of all elevator shunt trip equipment and related wiring in

accordance with City of Fort Worth requirements.

d) Verification that all programming and wiring to each elevator controller

supports firefighter’s emergency recall operation (Phase I and Phase II)

without shunt trip functionality.

e) Coordination and scheduling of all work through the JPS-approved

vendor for inspection, testing, and final acceptance.

f) All work must be performed by contractors holding appropriate state

licenses and shall include final documentation, testing, and certification of

compliance with NFPA and AHJ requirements.

F. Provide a circuit breaker panel or disconnect switches lockable in the off

position in each machine room for emergency power circuit for car lights, fan

and alarm, circuit for the machine room GFCI receptacles, circuit for the

hoistway lights, circuit for hoistway GFCI receptacles, and circuit for the

scavenger pump in the pit for hydraulic elevator.

G. Hoistway lights if provided shall be stacked vertically in the rear of the

hoistway near the corner for a single elevator or on the back wall between

the divider beams of a duplex or triplex installation. The extreme top and

bottom fixtures shall be mounted to illuminate the pit area when the car is at

the bottom landing and the car top when the car is at the top landing.

Provide three way light switches at the top of the pit ladder and five feet

above the top terminal landing at the inside front wall near the hall button

box.

H. Smoke Alarm, Shunt, Heat Sensors, Modules, Sprinklers: A smoke and heat

detecting system must be provided which meets appropriate code distances and is

wired from the device to each elevator controller. All shunt and sprinkler removal to be included in the bid. Work to be scheduled with JPS approved vendor.

9. Additional Work and/or Requirements:

A. All permits must be included and displayed.

B. Warranty period for 12 months.

C. All work to be “turn-key” and inclusive with no additional cost to JPS.

D. Trash to be removed daily, with no lingering piles of debris. All equipment,

tools of the elevator trade to be stored out of sight and secured daily at the end

of each shift.

E. JPS Code of Conduct and business ethics to be observed at all times.

Work by Others – NOT Included in This Agreement

1. Incoming Building Power: 3-phase 4 wire system with ground.

2. Asbestos: If asbestos is found in the building which is not contained, it

shall be the responsibility of others to abate. It will be necessary to stop

work until this process is completed. This provision may lead to remobilization

fees.

3. Storage: A secure storage area will need to be provided by subcontractor.

JPS to work to provide close temporary accommodations for daily tools and

work carts and job boxes. Subcontractor to have their own local storage

capabilities.

4. Elevator Operation: Should the elevator need to be operated for other

trades, upon owner approval, the hours will be calculated and presented to

the owner as a change order.

5. Emergency Power: Any modifications to existing emergency power

system to include generator and ATS switch.

6. Sprinklers: Modifications, draining, capping, removal.

PRICE SHEET:

| BUILDING: | CAR #: | PRICE: |
| --- | --- | --- |
| PAVILION | 32 & 33 |  |
| PAVILION GARAGE | 40 & 41 |  |
| JPOC 1400 S. MAIN ST. | 1, 2, & 3 |  |
| PAVILION | 37 |  |
| MAIN CAMPUS | 3 & 4 |  |
| TRINITY SPRINGS PAVILION | 26 & 27 |  |
| VIOLA PITTS | 1 |  |
| 200 W. MAGNOLIA | 1 |  |
| PAVILION | 34 & 35 |  |

  - PRICE QUOTES

Price quotes shall remain firm during Solicitation evaluation and for an additional 120 days after recommendation for award.  Pricing must remain fixed for the initial term of the agreement. Respondents must include all costs associated with use of the items. Any costs not included in the Solicitation response cannot be charged to the District. Respondents may propose pricing increases for the optional renewal terms with set caps (e.g., no more than 1% to 3% annually). Use the spreadsheet attached as Exhibit A to this Solicitation to provide line-item pricing in your Response.

  - CONTRACT TERM

The proposed term of the contract is 3 Year Term with all projects to be completed before 2028. The District may exercise the renewal options by providing vendor with written notice (email notice will be acceptable) of renewal no less than thirty (30) days prior to the expiration of the then-current term. The contract will be subject to cancellation by the District for any reason, at any time, and without penalty of any kind upon furnishing thirty (30) days’ advance written notification to vendor.  At the end of the term, the District reserves the right to extend the contract for up to 180 days to provide an opportunity to bring a new contract into place with another vendor.

  - SELECTION AND EVALUATION PROCESS

Selection Process	
The Solicitation Contact shall designate an evaluation committee (“Evaluation Committee”) which will be composed of employees from the District.  The District reserves the right to add, delete or substitute members of the Evaluation Committee as it deems necessary. The Evaluation Committee will narrow the field of submitted Solicitation responses to those which best meet the requirements of this Solicitation and which best meet the complete needs of the District.  Each such Solicitation Response will then be evaluated according to the criteria set forth herein.

Evaluation Criteria Specific to This Solicitation 	
The Evaluation Committee will conduct a comprehensive, fair, and impartial evaluation of all proposals received in response to this Solicitation. The evaluation of Solicitation Responses will involve scoring each Solicitation Response in the areas listed and set forth below in Section I (Evaluation Factors). The District’s evaluation of the Solicitation Responses will be based upon each Respondent’s response to the evaluation factors stated in this Solicitation.   Any Respondent’s failure to provide complete and full responses to the requested information may lead to disqualification of such Solicitation Response.

  - EVALUATION FACTORS

In determining how to award a contract or contracts in conjunction with the Solicitation, the District may consider the following:

- Price

- The reputation of the Respondent and of the Respondent’s goods and/or services.

- The extent to which the goods and/or services meet the District’s needs.

- Quality of Respondent’s goods and/or services.

- Diversity Enterprise Participation – the utilization of minority, woman, and veteran-owned businesses.

  - SOLICITATION RESPONSE CONTENT

The overall Solicitation Response should not exceed 25 pages total, excluding exhibits. Please note the District can only accept email responses with a size limit of no more than 45 megabytes. Any messages that contain password-protected or compressed (zipped) file attachments will be quarantined by the District’s security system and can only be released by administrators for delivery into Outlook. The District’s security system will recognize most common filename extensions, including: .xlsx (Excel), .docx (Word), Adobe PDF, and image files including .jpg, .tiff, and .gif. Any message containing an unknown or prohibited file extension will be quarantined (e.g., .numbers, representative of Apple Numbers application).

- Executive Summary

Provide a synopsis of the highlights of the proposal and overall benefits of the proposal to the District. This synopsis should not exceed two pages in length and should be easily understood.

- Company Background

- How the Proposed Solution Meets the District’s Needs

Describe how the proposed solution meets the minimum requirements in Section D above. Provide the information requested in Section E above. Provide specification sheets for each product bid. Include service and warranty information.

- Pricing

Use the spreadsheet in Exhibit A to list line item pricing for all products/services you can provide. Add lines as needed for additional products/services not already included.

- References

Provide a minimum of three references. Can include specific types of references needed, if applicable; e.g., other Texas customers, other hospital systems, etc. Include name, telephone number, and email address. The District will contact the references provided to determine Respondent’s performance record for products/services similar to that described in this request.

- Diversity Enterprise Participation

Provide a discussion on how the Respondent intends to meet the District’s goal of 25% MWVBE participation for the scope/specifications of this Solicitation.  Discuss any MWVBE management partners the Respondent plans to team with to provide the scope/specifications.  (Maximum 1 page)

The District strongly encourages the utilization of minority, woman, and veteran-owned businesses.

A. 	Submit certificate if Respondent is a certified MWVBE (do not submit an expired certificate).

OR

B. 	Communication Outreach – Attach the written notification of the subcontracting opportunity and list of three agencies and /or organizations notified regarding the interest in MWVBE participation in this contract; and

C. 	Plan of Action – List the subcontractors selected for participation, their certification, and approximate dollar value of the work to be subcontracted and the expected percentage of the total contract amount.

- Required Forms

a. 	Exhibit B: Signature Form

b. 	Exhibit C: Signed Vendor Proposed Revisions (an editable, unlocked/usecured redline in track changes if proposing changes)

c. 	Exhibit D: Vendor Certification Form

e. 	Exhibit F: JPS Supplier Diversity: Good Faith Form

  - EVALUATION CRITERIA SCORE SHEET

| EVALUATION CRITERIA | Possible Points | Vendor Score |
| --- | --- | --- |
| - Price – Best Value # Pricing will be scored according to the pricing formula: (Lowest Responsive Price / Price of Respondent Being Evaluated) x Possible Points = Vendor Score | 25 |  |
| THIS SECTION WILL BE SCORED BY THE EVALUATION COMMITTEE |  |  |
| - The extent to which the goods and/or services meet the District’s needs. | 25 |  |
| - Quality of Respondent’s goods and/or services. | 25 |  |
| - The reputation of the Respondent and the Respondent’s goods and/or services. | 25 |  |
| MWVBE PARTICIPATION |  |  |
| # Minority, Woman, and Veteran-Owned Business Enterprise Participation. # This Section is evaluated but not weighted or scored: |  |  |
| Is the Respondent a certified MWVBE? | Y | N |
| ###### MAXIMUM TOTAL POSSIBLE POINTS | 100 |  |
| Company Name: __________________________________________ |  |  |
| Evaluator ID: _____________________________________ |  |  |
| RFP #20251346752 Elevator Modernization Services (Multiple Locations) |  |  |

Exhibit A

Price Sheet

RFP #20251346752 Elevator Modernization Services (Multiple Locations)

PRICE SHEET:

| BUILDING: | CAR #: | PRICE: |
| --- | --- | --- |
| PAVILION | 32 & 33 |  |
| PAVILION GARAGE | 40 & 41 |  |
| JPOC 1400 S. MAIN ST. | 1, 2, & 3 |  |
| PAVILION | 37 |  |
| MAIN CAMPUS | 3 & 4 |  |
| TRINITY SPRINGS PAVILION | 26 & 27 |  |
| VIOLA PITTS | 1 |  |
| 200 W. MAGNOLIA | 1 |  |
| PAVILION | 34 & 35 |  |

Exhibit B

Signature Form

Respondent shall signify Respondent’s acceptance of and compliance with the requirements, terms, and conditions of this Solicitation by signing in the signature space set forth below.

Respondent warrants that Respondent has examined and is familiar with this Solicitation and its terms and conditions. Respondent warrants that Respondent does not engage in scrutinized business operations in Sudan, Iran or with foreign terrorist organizations, does not engage in any prohibited boycott, and that Respondent does not appear (nor does any affiliate appear) on any Texas Comptroller Divestment Statute Lists.

Respondent warrants that it has the necessary experience, knowledge, abilities, skills, and resources to satisfactorily finance and complete the products and services in its Solicitation Response.

Respondent certifies that the individual signing this Solicitation Response is authorized to sign such documents on behalf of the Respondent entity and to bind Respondent and is authorized to bind the Respondent in this Solicitation Response.

RESPONDENT AGREES TO DEFEND, INDEMNIFY, AND HOLD HARMLESS THE DISTRICT AND ALL OF ITS OFFICERS, AGENTS AND EMPLOYEES FROM AND AGAINST ALL CLAIMS, ACTIONS, SUITS, DEMANDS, PROCEEDINGS, COSTS, DAMAGES, AND LIABILITIES, ARISING OUT OF CONNECTED WITH, OR RESULTING FROM ANY ACTS OF OMISSIONS OF RESPONDENT OR ANY AGENT, EMPLOYEE, SUBCONTRACTOR, OR SUPPLIER OF RESPONDENT IN THE EXECUTION OR PERFORMANCE OF ANY AGREEMENTS OR OTHER CONTRACTUAL ARRANGEMENTS WHICH MAY RESULT FROM THE SUBMISSION OF THE SOLICITATION RESPONSE AND/OR THE AWARD OF A CONTRACT THEREON BY THE DISTRICT.

| RFP #20251346752 Elevator Modernization Services (Multiple Locations) |  |
| --- | --- |
| Respondent (Company) Name: |  |
| By: _____________________________________ | Date: |
| Printed Name: Title: |  |
| Telephone: Email: |  |

Exhibit C

Contract

RFP #20251346752 Elevator Modernization Services (Multiple Locations)

Required Terms

to be added to your proposed contract form(s)

Please note: The District is a taxpayer-supported government entity. The District will not agree to indemnify the vendor, limit the vendor’s liability, shorten the statute of limitations for any claim, submit to binding arbitration, waive its right to a jury trial, or waive its existing governmental immunity. Do not include any such provisions in your contract form or redline, as they will not be accepted.

- Term and Termination.  The parties agree that this Agreement shall be for a period of three (3) years, commencing on the Effective Date (“Initial Term”). At the end of the Term of the Agreement, Customer reserves the right to extend the Agreement for up to 180 days to provide an opportunity to bring a new contract into place with another vendor. Either party may terminate this Agreement for cause upon a material breach by the other party of its obligations hereunder, which breach is not cured within fifteen (15) days after the breaching party is given a Notice of Material Breach (defined below). A “Notice of Material Breach” means written notice that includes in all capital letters “NOTICE OF MATERIAL BREACH” and also includes: (i) specific details identifying the material breach; and, (ii) the notifying party’s specific recommendations of actions to be (or if appropriate, not to be) taken by the other party for it to cure the breach. Customer shall have the right to terminate this Agreement without cause at any time prior to such end of the Term of the Agreement by giving Vendor thirty (30) days prior written notice of such termination (hereinafter referred to as “Early Termination”). In the event of Early Termination, Customer agrees that it will pay all amounts due and owing Vendor for all Products provided by Vendor up to and including the date of termination. Customer also shall reimburse Vendor for all expenses incurred by Vendor in the performance of its obligations hereunder and which are or would be due to Vendor if Early Termination had not occurred. Customer acknowledges and agrees that in the event of such Early Termination, Vendor will not provide or otherwise perform any unnecessary part of the Products nor will it incur any unreasonable expenses, but it will perform only those obligations and incur only those expenses necessary to fulfill its obligations under this Agreement. Nothing set forth herein shall limit the Customer’s rights or remedies.

- Indemnity.

  - EXCEPT TO THE EXTENT OF ANY OTHER INDEMNITIES EXPRESSLY PROVIDED ELSEWHERE IN THIS AGREEMENT WHICH SHALL TAKE PRECEDENCE AND CONTROL OVER THIS INDEMNITY TO THE EXTENT OF THE MATTERS COVERED BY SUCH OTHER EXPRESSLY PROVIDED INDEMNITY(IES), VENDOR SHALL INDEMNIFY AND HOLD HARMLESS THE CUSTOMER, CUSTOMER’S MANAGERS, OFFICERS, AGENTS, EMPLOYEES, STAFF, REPRESENTATIVES, AND DIRECTORS (COLLECTIVELY, THE “CUSTOMER INDEMNITEES”) FROM ALL LOSSES (DEFINED BELOW) AND SHALL DEFEND THE CUSTOMER AND CUSTOMER INDEMNITEES AGAINST ALL CLAIMS AND CAUSES OF ACTION OF THIRD PARTIES ARISING OUT OF OR RELATED TO ANY OF THE FOLLOWING, EXCEPT TO THE EXTENT CAUSED BY THE INTENTIONAL MISCONDUCT OF OR MISUSE OF THE PRODUCTS AND/OR SERVICES BY CUSTOMER OR ANY OF THE CUSTOMER INDEMNITEES OR A BREACH OF THIS AGREEMENT BY THE CUSTOMER: (1) A VIOLATION OF ANY FEDERAL, STATE, LOCAL OR FOREIGN LAW, RULE, REGULATION OR ORDER APPLICABLE TO VENDOR AND/OR ITS EMPLOYEES OR REPRESENTATIVES; (2) ANY VIOLATION OR BREACH BY VENDOR OF ITS REPRESENTATIONS AND WARRANTIES TO THE CUSTOMER IN THE AGREEMENT; OR, THE FACT THAT ANY OF SUCH REPRESENTATIONS AND WARRANTIES CEASES TO BE TRUE DURING THE TERM; (3) THE FAILURE OF VENDOR TO OBTAIN, OR CAUSE TO BE OBTAINED, ANY REQUIRED LICENSES, PERMITS OR CONSENTS FOR THE CUSTOMER TO RECEIVE AND USE THE PRODUCTS AND/OR SERVICES, OR ANY COMPONENT THEREOF, TO THE FULL EXTENT PROVIDED IN THIS AGREEMENT, EXCLUDING ANY REQUIRED CONSENT THAT IS NOT OBTAINED DUE TO THE CUSTOMER’S FAILURE TO PAY FOR SAME; AND (4) PERSONAL INJURIES, DEATH OR DAMAGE TO TANGIBLE PERSONAL OR REAL PROPERTY TO THE EXTENT CAUSED BY NEGLIGENT OR INTENTIONAL ACTS OR OMISSIONS OF VENDOR OR ANY VENDOR EMPLOYEE OR VENDOR REPRESENTATIVE.

  - VENDOR AGREES TO, AND SHALL, INDEMNIFY AND HOLD CUSTOMER HARMLESS AGAINST ANY LOSSES TO THE EXTENT THE SAME ARISE OUT OF OR ARE ASSERTED AGAINST CUSTOMER ALLEGING THAT THE PRODUCT AND/OR SERVICES INFRINGE ANY UNITED STATES PATENT, TRADEMARK, COPYRIGHT OR OTHER INTELLECTUAL PROPERTY RIGHT OF A THIRD-PARTY, PROVIDED THAT (1) CUSTOMER GIVES VENDOR WRITTEN NOTICE WITHIN FIFTEEN (15) DAYS AFTER CUSTOMER’S ACTUAL KNOWLEDGE OF THE EXISTENCE THEREOF, OF ANY SUCH CLAIMS, DAMAGES, OR EXPENSES, (2) CUSTOMER AGREES TO COOPERATE REASONABLY WITH VENDOR AS REASONABLY NECESSARY TO DEFEND, SETTLE, REIMBURSE, OR AVOID ANY SUCH CLAIMS, DAMAGES AND EXPENSES, AND (3) THE PRODUCT AND/OR SERVICES AS OF THE ALLEGED DATE OF INFRINGEMENT WAS IN THE SAME FORM AND CONFIGURATION AS ORIGINALLY SUPPLIED BY VENDOR AND HAD NOT BEEN MODIFIED IN ANY WAY WITHOUT THE PRIOR WRITTEN CONSENT OF VENDOR.

  - FOR PURPOSES OF THIS SECTION, THE WORD “LOSSES” MEANS ALL ASSESSMENTS, LOSSES, DAMAGES, COSTS, EXPENSES, LIABILITIES, JUDGMENTS, AWARDS, FINES, SANCTIONS, PENALTIES, CHARGES, AND AMOUNTS RESULTING FROM, OR AGREED TO BE PAID IN SETTLEMENT OF, ANY THIRD-PARTY CLAIM OR ALLEGATION INCLUDING, BUT NOT LIMITED TO, REASONABLE ATTORNEY AND OTHER LEGAL FEES AND COSTS AND EXPENSES OF INVESTIGATING OR DEFENDING AGAINST SUCH CLAIM OR ALLEGATION.

  - Upon timely receipt of Customer’s written notice, Vendor will assume the defense of any claims (as described above) against Customer. Customer agrees to cooperate with Vendor in the defense or settlement of all such claims.

  - Vendor shall not be bound by the terms of any compromise or settlement agreement negotiated or concluded by Customer without the prior written consent of Vendor.

  - The terms of this Section will not apply to the extent of any use of the Products and/or Services in combination with products or devices not furnished by Vendor.

- Confidentiality and HIPAA.

(a)	Customer may disclose to Vendor in confidence or otherwise make available to Vendor certain material which is not generally known to the public (“Customer Confidential Information”), including, but not limited to, information pertaining to: research; pricing; procurement; distribution; personnel; compensation; financial statements or projections; business plans; contracts; systems development and implementation; scientific and mathematics techniques; infrastructure and technical configuration; security policies; methodologies and implementations; intellectual property; trade secrets; inventions; marketing plans; existing and potential clients, customers, patients, suppliers, vendors and other business relationships; and other information provided, delivered or made available by Customer or otherwise accessible to Vendor. Customer Confidential Information shall not include any protected health information (“PHI”) as that term is defined at 45 CFR § 160.103, which information is subject to state and federal laws and regulations.

(b)	Vendor agrees to hold in confidence all Customer Confidential Information and to use such information only for the purpose of performing and completing the Services for Customer. Furthermore, Vendor will protect Customer Confidential Information received under this Agreement in the same manner and to the same extent to which it protects its own valuable proprietary information, but in all events using at least a reasonable standard of care. Vendor may not make any copies of Customer Confidential Information except in the course and scope of performing and completing the Services and all Customer Confidential Information (including but not limited to all copies thereof) shall be promptly returned by Vendor to Customer upon the termination or expiration of this Agreement, or sooner if demanded by Customer.

(c)	Subject to the requirements of the limitations stated in Section 9 (Texas Public Information Act) below, Customer agrees to keep Vendor’s proprietary information, including all information relating to the Services, confidential and not to use such proprietary information except as contemplated under this Agreement.

(d)	The confidentiality obligations in this Agreement shall not apply to information: (1) in a receiving party’s possession prior to disclosure under this Agreement unless disclosed to receiving party by the disclosing party under a prior agreement with the disclosing party for confidentiality or non-disclosure (“Prior NDA”), (2) which is or becomes publicly known through no fault on the part of receiving party, (3) received from a third party not under an obligation to the owner of such information not to disclose it, (4) independently developed by receiving party without the benefit of the information disclosed under either a Prior NDA or this Agreement (as to which receiving party has the burden of proof), (5) required to be disclosed by government regulation, statute, or judicial order, provided that prior to such disclosure and if reasonably possible, receiving party will inform the disclosing party of such requirements and permit the disclosing party to seek a protective order or other relief regarding such information, or (6) disclosed without confidentiality restrictions to any third party by or with the express permission of the disclosing party.

(e)	The parties do not anticipate that Vendor will (i) create, maintain, transmit or receive protected health information for, on behalf of, or from Customer in connection with this Agreement or (ii) otherwise be considered a Business Associate of Customer, as that term is defined by federal regulation. Should the situation change, Vendor agrees that it will negotiate in good faith an amendment to this Agreement, including a business associate agreement, if appropriate, in each case if and to the extent required by the provisions of the Health Insurance Portability and Accountability Act, the Health Information Technology for Economic and Clinical Health Act of 2009, and/or the regulations promulgated thereunder.

(f)	This Section titled “Confidentiality and HIPAA” shall survive the termination or expiration of the Agreement.

- Expenses. Vendor will invoice Customer monthly for the Expenses (defined below) incurred during the applicable monthly period in performing the Services. “Expenses” means those reasonable and necessary out-of-pocket expenses for travel, hotel rooms, and meals, actually incurred by Vendor to perform and complete the Services, which, without the prior approval of Customer, shall exceed neither (i) $_______ [amount TBD based on expected travel, etc.], nor (ii) the applicable per diem lodging rates and per diem meals and incidental expense rates established by the General Services Administration (“GSA”) for Tarrant County, Texas.  Current GSA per diem lodging rates and per diem meals and incidental expense rates can be found at https://www.gsa.gov/travel/plan-book/per-diem-rates/per-diem-rates-lookup.

- Exclusion and Ethics.

  - Vendor agrees that it will immediately report in writing to the Customer in the event, if ever, Vendor, including any of its officers, directors, employees, contractors or agents, becomes a target of any criminal investigation or any investigation that could result in debarment or exclusion Vendor or such other person from federally or state funded healthcare programs.

  - Vendor warrants and represents to Customer that Vendor has never been:

    - convicted of a criminal offense;

    - listed by a federal agency as debarred, excluded or otherwise ineligible for federal plan participation;

    - sanctioned by any federal or state law enforcement, regulatory or licensing agency; or,

    - excluded from any state or federal healthcare program.

  - Vendor further warrants and represents to the Customer that neither Vendor, nor any of Vendor’s officers, directors, members, partners, shareholders (excluding shareholders, members and limited partners that own less than 5% of the combined voting power of Vendor), employees, contractors or agents:

    - is currently under criminal investigation or any investigation that could result in debarment or exclusion from federally or state funded healthcare programs; or

    - has ever been:

      - convicted of a criminal offense that is a felony or a misdemeanor of moral turpitude;

      - listed by a federal agency as debarred, excluded or otherwise ineligible for Federal plan participation;

      - sanctioned by any federal or state law enforcement, regulatory or licensing agency; or,

      - excluded from any state or federal healthcare program.

  - If any of the foregoing representations in this Section 5(b) or (c) ceases to be true, Vendor will immediately report same in writing to the Customer.

  - Upon receipt of any report required by Vendor hereunder or in the event of a failure to report by Vendor, the Customer may without penalty terminate this Agreement and other than the payment of any amounts due and owing through the date of termination, the Customer shall have no further obligations or liabilities hereunder.

- Availability of Records. To the extent required by 42 U.S.C. § 1395x(v)(1)(I), until the expiration of four (4) years after the furnishing of any services provided under this Agreement, Vendor shall make available, upon written request by the Secretary of the U.S. Department of Health and Human Services (the “Secretary”) or by the U.S. Comptroller General (the “Comptroller General”), or by their respective duly authorized representatives, this Agreement, and all books, documents and records of Vendor that are necessary to certify the nature and extent of the costs of such services.  If Vendor carries out the duties of this Agreement through a permitted subcontract worth $10,000 or more over a 12-month period with a related organization, to the extent required by 42 U.S.C. § 1395x(v)(1)(I), such subcontract also shall contain a clause to the effect that until the expiration of four years after the furnishing of such services pursuant to such subcontract, the related organization shall make available, upon written request by the Secretary, or upon request by the Comptroller General, or any of their duly authorized representatives, the subcontract, and books, documents and records of such organization that are necessary to verify the nature and extent of such costs.

- Budgetary and Other Limitations.

  - Vendor acknowledges and agrees that Customer is a governmental entity and, as such, is subject to an annual budgetary process and the limitation and restrictions of fiscal funding.  Notwithstanding any other provision herein, if and to the extent the obligations of this Agreement, either in its initial Term or in any automatically or otherwise renewed Term, should continue over into the Customer’s subsequent fiscal years following that fiscal year when this Agreement was executed and funds are not appropriated or budgeted for this Agreement and completion of the Term in question, the Customer may terminate this Agreement without penalty and shall have no further obligation or liabilities hereunder.  However, if the Agreement is terminated pursuant to the terms above, Customer agrees to pay for fees and charges incurred as of the termination date.

  - Vendor further acknowledges and agrees that there exist constitutional and statutory limitations (“Limitations”) on Customer as a governmental entity respecting certain terms and conditions that may be part of this Agreement, including, but not limited to, (i) terms and conditions relating to liens on Customer’s property, (ii) disclaimers and limitations of warranties, (iii) disclaimers and limitations of liability for damages, (iv) waivers, disclaimers and limitations of legal rights, remedies, requirements and processes, (v) limitations of periods to bring legal action, (vi) granting control of litigation or settlement to another party, (vii) liability for acts or omissions of third parties, (viii) payment of attorneys’ fees, (ix) dispute resolution, (x) indemnities, and (xi) confidentiality, and any such terms and conditions related to the Limitations shall not be binding on Customer except to the extent authorized by the laws and constitution of the state of Texas.

- Tax Exemption.  The District is a tax-exempt organization pursuant to Ch. 151 of the Texas Sales, Excise, and Use Tax Code and Section 501(c)(3) of the Internal Revenue Code, and is not responsible for payment of any amounts accountable or equal to any federal, state or local sales, use, excise, personal property, or other taxes levied on any transaction or article provided for by this Agreement. The District will provide evidence of its tax-exempt status to Contractor upon request.

- Texas Public Information Act.  Customer advises Vendor that Customer is a governmental body under Chapter 552 of the Texas Government Code and that certain information that is collected, assembled, or maintained in connection with the transaction of official business by a governmental body is considered public information potentially subject to disclosure pursuant to a valid Texas Public Information Act (“TPIA”) request. Vendor’s trade secrets, certain financial information, and proprietary information may be subject to an exception to disclosure under Chapter 552 of the Texas Government Code, Subchapter C. If a TPIA request is made on Customer to disclose Vendor information that is reasonably likely to be subject to an available exception from disclosure, Customer will (i) promptly notify Vendor of such request for disclosure, and (ii) decline to release such information and file a written request with the Texas Attorney General’s office seeking a determination as to whether such information may be withheld.

- Chapters 2271, 2252, and 2274 Texas Government Code Verification.

  - Boycott of Israel Prohibited. In compliance with Section 2271.001 et seq. of the Texas Government Code, Vendor verifies that neither it nor any of its affiliates currently boycott Israel and neither it nor any of its affiliates will boycott Israel during the term of this Agreement. “Boycott Israel” is defined in Section 808.001(1) of the Texas Government Code.

  - Scrutinized Business Operations Prohibited. In compliance with Section 2252.151 et seq. of the Texas Government Code, Vendor warrants and represents that: (1) neither Vendor nor any of its affiliates engages in scrutinized business operations in Sudan; (2) neither Vendor nor any of its affiliates engages in scrutinized business operations in Iran; and (3) neither Vendor nor any of its affiliates engages in scrutinized business operations with designated foreign terrorist organizations. “Scrutinized business operations in Sudan” is defined in Section 2270.0052 of the Texas Government Code. “Scrutinized business operations in Iran” is defined in Section 2270.0102 of the Texas Government Code.  “Scrutinized business operations with designated foreign terrorist organizations” is defined in Section 2270.0152 of the Texas Government Code.  Vendor further represents and warrants that neither Vendor nor any of its affiliates appears on any of the Texas Comptroller’s Scrutinized Companies Lists.

  - Boycott of Certain Energy Companies Prohibited. In compliance with Section 2274.002 of the Texas Government Code (added by 87th Legislature, S.B. 13), Vendor verifies that neither it nor any of its affiliates currently boycott energy companies and neither it nor any of its affiliates will boycott energy companies during the term of this Agreement. “Boycott energy company” is defined in Section 809.001(1) (added by 87th Legislature, S.B. 13) and means, without an ordinary business purpose, refusing to deal with, terminating business activities with, or otherwise taking any action that is intended to penalize, inflict economic harm on, or limit commercial relations with a company because the company: (A) engages in the exploration, production, utilization, transportation, sale, or  manufacturing of  fossil fuel-based energy and does not commit or pledge to meet environmental standards beyond applicable federal and state law; or (B) does business with a company described by subsection (A).

  - Discrimination against Firearm Entities or Firearm Trade Associations Prohibited. In compliance with Section 2274.002 of the Texas Government Code (added by 87th Legislature, S.B. 19), Vendor verifies that neither it nor any of its affiliates have a practice, policy, guidance, or directive that discriminates against a firearm entity or firearm trade association; and neither it nor any of its affiliates will discriminate during the term of the Agreement against a firearm entity or firearm trade association. “Discriminate against a firearm entity or firearm trade association” is defined in Section 2274.001(3) (added by 87th Legislature, S.B. 19) and means, with respect to the entity or association, to: (i) refuse to engage in the trade of any goods or services with the entity or association based solely on its status as a firearm entity or firearm trade association; (ii) refrain from continuing an existing business relationship with the entity or association based solely on its status as a firearm entity or firearm trade association; or (iii) terminate an existing business relationship with the entity or association based solely on its status as a firearm entity or firearm trade association; the term does not include: (i) the established policies of a merchant, retail seller, or platform that restrict or prohibit the listing or selling of ammunition, firearms, or firearm accessories; and (ii) a company’s refusal to engage in the trade of any goods or services, decision to refrain from continuing an existing business relationship, or decision to terminate an existing business relationship: (aa) to comply with federal, state, or local law, policy, or regulations or a directive by a regulatory agency; or (bb) for any traditional business reason that is specific to the customer or potential customer and not based solely on an entity’s or association’s status as a firearm entity or firearm trade association.

- Governing Law; Jurisdiction.  THE AGREEMENT SHALL BE GOVERNED BY AND INTERPRETED IN ACCORDANCE WITH THE LAWS OF THE STATE OF TEXAS, USA, WITHOUT REFERENCE TO ITS LAWS RELATING TO CONFLICTS OF LAW.  Any legal action arising out of or relating to the Agreement shall be brought only in the state or federal courts located in Tarrant County, Texas, and the parties irrevocably consent to the jurisdiction and venue of such courts.

- Prohibition on Use of Name and Logo.  Vendor agrees that it will not, without the prior written consent of Customer, use the names, logos, symbols, trademarks or service marks of the Customer, including but not limited to those associated with JPS Health Network, for any purposes or uses (expressly including but not limited to for Vendor’s advertising, promotion or other marketing) other than those reasonably related to performing and completing the obligations under this Agreement. This section titled “Prohibition on Use of Name and Logo” shall survive the termination or expiration of this Agreement.

- Termination Right.  In the event of a change-in-control (defined below), Customer may without penalty terminate this Agreement and other than the payment of any amounts due and owing through the date of termination, the Customer shall have no further obligations or liabilities hereunder. A “change-in-control” means that (a) there occurs a reorganization, merger, consolidation or other corporate transaction involving Vendor (a “Transaction”), in each case with respect to which the owners of Vendor immediately prior to such Transaction do not, immediately after the Transaction, own more than 50% of the combined voting power of Vendor or any other entity resulting from such Transaction; or, (b) all or substantially all of the assets of Vendor are sold, liquidated or distributed.

- Insurance.  During the term of this Agreement, Vendor will maintain commercial general liability and professional liability insurance each in a coverage amount not less than One Million Dollars ($1,000,000) per occurrence and Three Million Dollars ($3,000,000) in the aggregate. Furthermore, upon the execution of this Agreement and upon request any time thereafter, Vendor will furnish a then current certificate(s) of insurance.

- Assignment Prohibited.  Vendor may not, without the prior written consent of Customer, assign its rights, duties or obligations under this Agreement to any person or entity, in whole or in part, and any attempt to do so shall be void and deemed a material breach of this Agreement.

- Compliance with Laws.  In providing the Services required by this Agreement, Vendor shall observe and comply with all applicable federal, state, and local statutes, ordinances, rules, and regulations, including, without limitation, workers’ compensation laws, minimum and maximum salary and wage statutes and regulations, and non-discrimination laws and regulations. Vendor shall be responsible for ensuring its compliance with any laws and regulations applicable to its business, including maintaining any necessary licenses and permits.

Exhibit D

Vendor Certification Form

RFP #20251346752 Elevator Modernization Services (Multiple Locations)

| Instructions: Vendors doing business with the District are requested to complete this form in its entirety. If you are a Disadvantaged Business Enterprise, the requested information pertains to the owner(s) of the company. This form must be signed and dated by an authorized representative of your company. |  |  |
| --- | --- | --- |
| Respondent’s Name: Years in business under same name: Previous Name: General E-mail Address: Current Address: Sales Rep/Customer Service Name: E-mail Address: Authorized Signatory: Email Address: Fax#: Accounts Receivable Contact Name: Phone # TCHD Account # |  |  |
| List your major commodities: |  |  |
| Check all that apply with respect to major commodity: ☐Supply ☐Equipment ☐Service (List type of service, i.e., temp. agency, surveyor, etc.: _______ ☐Consultant ☐Distributor ☐Manufacturer ☐Contractor ☐Subcontractor Approximate dollar volume of business with the District in past twelve (12) months: $____________ |  |  |
| ETHNICITY OF company’S American OWNERSHIP (Please place an X in the appropriate box: |  |  |
| ☐ Asian Pacific ☐ African American ☐ Caucasian ☐ Hispanic ☐ Native American | ☐ Other ____________ (SPECIFY) | Public OWN STOCK: ☐ yES ☐ nO |
|  |  | MAJORITY OWNER: ☐ mALE ☐ fEMALE |

INCLUDE THE FOLLOWING:

Copy of certificate(s) (State of Texas, North Central Texas Regional Certification Agency (NCTRCA), Historically Underutilized Businesses (HUB), or any agency confirming your business as being a women/minority-owned or small business enterprise.

signature: ________________________________________ Title: ______________

Print Name: __________________________________________ Date: ____________

Exhibit F

JPS Supplier Diversity: Good Faith Form

Respondents: Please complete the following questions as applicable to your organization:

[rest of page left intentionally blank, continue below]

Exhibit F

JPS Supplier Diversity: Good Faith Form

| RFP # or Name of Contract: | RFP #20251346752 Elevator Modernization Services (Multiple Locations) |
| --- | --- |
| Prime Vendor Name: |  |
| Prime Vendor address: |  |
| Prime Vendor UCM ID: |  |

- Are you a Historically Underutilized, Small, Minority, Woman or Veteran owned business (HUB/SMWVBE)?

☐	If yes, please attach your updated certification form (Stop Here)

☐ 	If no, please continue to #2 below

- List all participating HUB/SMWVBE certified agencies/organizations contacted regarding subcontracting and/or partnership opportunities for this contract.  (Insert additional rows as needed.)

| Subcontractor Company Name | Email / Phone | Certification Type and Number | Total Contract Value | HUB/SMWVBE Subcontract Value | % of Total Contract |
| --- | --- | --- | --- | --- | --- |

- If no HUB/SMWVBE participation is listed above, have you checked the JPS Vendor portal at https://jpshealth.gob2g.com/ ?    The vendor portal is a directory of certified HUB/SMWVBE businesses        Ex: Support services to participate under the contract

☐ If you searched the vendor portal, list HUB/SMWVBE company name(s) and contact information below

| Subcontractor Company Name | Email / Phone | Certification Type and Number | Total Contract Value | HUB/SMWVBE Subcontract Value | % of Total Contract |
| --- | --- | --- | --- | --- | --- |

- If you are not a HUB/SMWVBE and do not have a HUB/SMWVBE subcontractor, please provide a statement regarding steps that your company has taken to demonstrate your commitment to Supplier Diversity: (insert additional rows as needed)

- Please provide an explanation as to how you plan to identify HUB/SMWVBE participation on this contract: (insert additional rows as needed)

| Name of Vendor (Print) |  | Vendor Signature |
| --- | --- | --- |
| Date |  | Vendor Phone |

Did you complete, sign, and submit all required forms?

If not, your Proposal will be rejected

*Please ensure this RFP # is included in the subject line of your email including your proposal*