Date: Jan 8, 2026

Title: RFP #20251357260 CHC Facilities Condition Assessment

Subject: Amendment to Leasing Table

#### The following has been amended removing True North location from the leasing table.

All corrections, changes, additions, revisions, and/or clarifications in this Addendum #1 to the

RFP are hereby made a part of RFP #20251357260 CHC Facilities Condition Assessment.

All Respondents to the RFP shall acknowledge receipt and acceptance of this Addendum #1 by

signing in the space provided and submitting the signed Addendum #1 with the RFP.

Proposals submitted without an executed copy of this Addendum #1 attached may be considered

informal and may be rejected.

Received, acknowledged, and conditions agreed to on this _________ day of _________, 2026, by:

Respondent:  __________________________________________________________

Company Name: _______________________________________________________

If there are questions pertaining to this addendum please contact: Bid_submissions@jpshealth.org

| Leased Properties |  |  |  |  |  | JPS Responsibilities |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| L (Lessee) | 1212/1214 S Main (Information and Technology) | 1212 And 1214 S Main, | FORT WORTH | 5,380 | Lighting Systems, Door Repairs, Painting |  |
| L (Lessee) | Acclaim Multi Specialty Clinic | 1250 8th Ave. Ste. 600 | FORT WORTH | 9,338 | Lighting Systems, Plumbing Systems,Electrical Systems, Security, Door Repairs, Painting |  |
| L (Lessee) | Oncology & Infusion Center (OIC) | 1450 8th Avenue | FORT WORTH | 51,170 | Plumbing Systems, Lighting Systems, Door Repairs, Windows, Fire Systems, Life Safety,Landscaping, Exterminator, Painting, Security |  |
| L (Lessee) | Gertrude Tarpley Health Center At Watauga | 6601 Watauga Rd, Suite 122 | WATAUGA | 21,167 | Electrical Systems, HVAC Systems, Plumbing Systems, Lighting Systems, Door Repairs, Painting |  |
| L (Lessee) | Las Vegas Trail Clinic (Cook Children's) | 2800 Cherry Lane | FORT WORTH | 5,000 | Door Locksets |  |
| L (Lessee) | BH Partial Hospitalization Program - Arlington | 501 W Main St. | ARLINGTON | 10,500 | HVAC Systems, Plumbing System, Electrical Systems, Door repairs, Security, Painting |  |
| L (Lessee) | JPS Medical Home At True Worth Place | 1513 E. Presidio St. | FORT WORTH | 12,345 | HVAC Systems, Plumbing System, Electrical Systems, Door repairs, Security, Painting |  |
| L (Lessee) | Warehouse | 121 E. Feliks St., Ste. 202 | FORT WORTH | 16,000 | Heating Systems, Electrical Systems, Lighting Systems, Life Safety |  |
| L (Lessee) | Trinity Springs North (Psych inpatient) - HAVEN | 1000 St. Louis Ave. | FORT WORTH | 47,944 | Lighting Systems,Plumbing Systems, HVAC System, Generator, Door Repairs, Windows, Painting |  |
|  |  |  | TOTAL | 178,844 |  |  |